## Slide 1: High Availability on Cloud Environment

## Slide 2: AVAILABILITY
Everyone expects their infrastructure to be available all the time
A 100% guaranteed availability of an infrastructure is impossible

## Slide 3: Calculating availability
Availability can neither be calculated, nor guaranteed upfront
  It can only be reported on afterwards, when a system has run for some years
Over the years, much knowledge and experience is gained on how to design high available systems
  Failover
  Redundancy
  Structured programming
  Avoiding Single Points of Failures (SPOFs)
  Implementing systems management

## Slide 4: Calculating availability
The availability of a system is usually expressed as a percentage of uptime in a given time period
  Usually one year or one month
Example for downtime expressed as a percentage per year:

## Slide 5: Calculating availability
Typical requirements used in service level agreements today are 99.8% or 99.9% availability per month for a full IT system
Amazon, Google, and Microsoft’s set their cloud SLAs at 99.9%
The availability of the infrastructure must be much higher
  Typically in the range of 99.99% or higher
99.999% uptime is also known as carrier grade availability
  For one component
  Higher availability levels for a complete system are very uncommon, as they are almost impossible to reach

## Slide 6: MTBF and MTTR
Mean Time Between Failures (MTBF)
  The average time that passes between failures
Mean Time To Repair (MTTR)
  The time it takes to recover from a failure

## Slide 7: Calculation examples

## Slide 8: Sources of unavailability - human errors
80% of outages impacting mission-critical services is caused by people and process issues
Examples:
    Performing a test in the production environment
    Switching off the wrong component for repair
    Swapping a good working disk in a RAID set instead of the defective one
    Restoring the wrong backup tape to production
    Accidentally removing files
      Mail folders, configuration files
    Accidentally removing database entries
      Drop table x instead of drop table y

## Slide 9: Sources of unavailability - software bugs
Because of the complexity of most software it is nearly impossible (and very costly) to create bug-free software
Application software bugs can stop an entire system
Operating systems are software too
  Operating systems containing bugs can lead to corrupted file systems, network failures, or other sources of unavailability

## Slide 10: Sources of unavailability - planned maintenance
Sometimes needed to perform systems management tasks:
  Upgrading hardware or software
  Implementing software changes
  Migrating data
  Creation of backups
Should only be performed on parts of the infrastructure where other parts keep serving clients
During planned maintenance the system is more vulnerable to downtime than under normal circumstances
  A temporary SPOF could be introduced
  Systems managers could make mistakes

## Slide 11: Sources of unavailability - physical defects
Everything breaks down eventually
Mechanical parts are most likely to break first
Examples:
  Fans for cooling equipment usually break because of dust in the bearings
  Disk drives contain moving parts
  Tapes are very vulnerable to defects as the tape is spun on and off the reels all the time
  Tape drives contain very sensitive pieces of mechanics that can break easily

## Slide 12: Sources of unavailability - environmental issues
Environmental issues can cause downtime:
  Failing facilities
    Power
    Cooling
  Disasters
    Fire
    Earthquakes
    Flooding

## Slide 13: Sources of unavailability - complexity of the infrastructure
Adding more components to an overall system design can undermine high availability
  Even if the extra components are implemented to achieve high availability
Complex systems
  Have more potential points of failure
  Are more difficult to implement correctly
  Are harder to manage
Sometimes it is better to just have an extra spare system in the closet than to use complex redundant systems

## Slide 14: Redundancy
Redundancy is the duplication of critical components in a single system, to avoid a single point of failure (SPOF)
Examples:
  A single component having two power supplies; if one fails, the other takes over
  Dual networking interfaces
  Redundant cabling

## Slide 15: Failover
Failover is the (semi)automatic switch-over to a standby system or component
Examples:
  Windows Server failover clustering
  VMware High Availability
  Oracle Real Application Cluster (RAC) database

## Slide 16: Fallback
Fallback is the manual switchover to an identical standby computer system in a different location
Typically used for disaster recovery
Three basic forms of fallback solutions:
  Hot site
  Cold site
  Warm site

## Slide 17: Example of High Availability Website